These are my Standard Unit Service Practices:

1) Obtain Final Read

2) Obtain Meter Number

3) Test/Replace Read Switch

4) Replace Battery

5) Push/Clip Reset as Necessary

6) Remount PMT securely using 2 zip-ties to pipe or staples AND double sided tape.

7) Obtain count of 1 to insure equipment is operating correctly.

8) Provide Q/A Forms as directed.

9) Used batteries to be boxed and recycled

Service of High Usage Issues Standard Practices:

- Insert Blue Dye in Toilet Tank.

- Visually Inspect Apt. for High Occupancy.

- Visually inspect all fixtures and under cabinets for leaks.

- Visually inspect Meter and Connections for leaks.

- Perform Unit Service. As described above.

- Check bowl for Blue Dye.

- Discuss water saving tips with tenant as necessary.

- Usually 20 min. minimum

Service of No Usage Issues Standard Practices:

- Visually inspect unit for occupancy.

- Obtain Read/Run Flow test to insure meter spin.

- Standard Service as described above.

Explanation of Service Practices:

If it’s not the Read Switch or PMT then it has to be the Meter.